## RAPD_calculations
Practical RAPD calculation tool
Internal calculations are shown here
|  | Pupil Diameter | [6 empty] | intercanthus | anisocoria |  | average | IPA_raw
|  | dark |  | R light |  | L light |  |  | correction | correction |  | between eyes
|  | R | L | R | L | R | L |  |  | RE | LE
enter values here → |  | 325 | 308 | 228 | 217 | 291 | 270 | R light | 1.0142 | 0.7115 | 0.71455 | 0.71303 | -0.17269
|  | Intercanthus distance | [5 empty] | L light | 0.99967 | 0.89509 | 0.87634 | 0.88572
|  | dark |  | R light |  | L light
enter values here → |  | 3070 |  | 3027 |  | 3071
This is your patients IPA value: |  |  | 0.17269
Does your patient have a RAPD ? |  |  | yes | *
| * | This field contains a 0.11 cutoff value. We strongly recommend you determine your own normal cutoff off value.